## Slide 1: RFI measurements with Yebes VGOS broad-band receiver
P. García, J.A López-Pérez, F.J. Beltrán
Yebes Observatory
08/06/2017

## Slide 2: INDEX
Introduction.
Receiver.
Problems.
RFI Measurements.
Conclusions.

## Slide 3: RAEGE
Atlantic Network of Geodynamical and Space Stations.
4 Geodynamical Stations:
  Yebes.
  Canarias.
  Sta María Island.
  Flores Island.
Inside on VGOS Project.

## Slide 4: VGOS
VLBI Global Observing System.
Monitoring parameter variations Earth.
Smaller and quicker antennas :
  D= 13.2 m.
  Speed = 12 deg/seg.
New precision: 1 mm.
Broad-band (2- 14 GHz).

## Slide 5: General specifications
Input frequency range : 2 – 14 GHz.
Output frequency range : DC – 1.5 GHz.
Noise Temperature < 30 Kelvin.
Dual polarization.
Total bandwidth of 8 GHz.

## Slide 6: Problems
Radiofrequency interferences.
Receiver Saturation.
Solutions:
  Superconducting filters.
  Dichroic filters.

## Slide 7: RFI MEASUREMENTS
  Power measurements at the output of cryostat.
      Power meter: DC-6GHz.
  Spectrum at the output of cryostat.
      Spectrum analyzer 1-16 GHz.
  Some tests to correct the problem

## Slide 8: Total power at Cryostat Output

## Slide 9: Total power at Cryostat Output

## Slide 10: Spectrum at Cryostat Output 0º

## Slide 11: Spectrum at Cryostat Output 10º

## Slide 12: First test.

## Slide 13: Total power at Cryostat Output

## Slide 14: Total power at Cryostat Output

## Slide 15: Second test

## Slide 16: New situation
a) Original situation without pre-amplifier
b) New situation with filters and pre-amplifier
Tsys ≈ 70K
Tsys ≤ 50K

## Slide 17: New situation
Tsys ≈ 70K
Tsys ≤ 50K
a) Original situation without pre-amplifier
b) New situation with filters and pre-amplifier

## Slide 18: Conclusions
RFI problems.
Need to filter these signals.
Better Tsys with Pre-amplifiers.
Possible solutions:
  Dual band filter.
  Superconducting filter.

## Slide 19: Questions?
Thanks for your attention.